## Sheet1
Worksheet 2 402 Procedure:
| Glucose by Glucometer |  |  | Number of Tests Performed in One Month …...(a) |  | Patients: 300 Total QC: 66 (low and high controls analyzed daily during phlebotomy workstation morning set-up, and each time a new reagent bottle is opened) |  |  |  | Orderable Amount (rounded UP to the nearest whole number)
|  | Item # needed to perform one procedure | Item # needed per month (Reserve Quantity) |  | Minimum Stock required for a two month lead time (Reorder Level) |  | Stock on hand (physical inventory) | Quantity to be ordered | Vendor's item amount |  | Orderable Unit
| List Each Item | (b) | (a) x (b) = (c) |  | (c) x 2 = (d) |  | (e) | (c) + (d) - (e) …… = (f) | (g) | (f) / (g)
1 | lancet | [5 empty] | 400 |  | 1000 lancets/box |  | box
2 | alcohol pad | [5 empty] | 800 |  | 100 packets/box |  | box
3 | 2x2 gauze | [5 empty] | 100 |  | 50 pieces/bag |  | bag
4 | reagent strip | [5 empty] | 800 |  | 50 strips/bottle |  | bottle
5 | QC Low** | [5 empty] | 75 |  | 50 tests/bottle |  | bottle
6 | QC High** | [5 empty] | 25 |  | 50 tests/bottle |  | bottle
** Manufacturer's QC package insert specifies that the quantity in each bottle is sufficient for 50 tests (dispense 1 drop, wipe, test second drop)