## Sheet1
Job Aid 2: PT Checklist 610
Proficiency Testing Failure Checklist
Survey Name: |  | Clinical Specialty:
Specimens: |  | Date:
Problem Description:
Assessment Review
PT Report Reviewed for Clerical Errors:
| Evaluation results match your copy of submitted results |  | Yes | No | N/A
| Wrong Data Entered |  | Yes | No | N/A
| Wrong Units Reported |  | Yes | No | N/A
| Incorrect instrument or methodology indicated |  | Yes | No | N/A
Sample Handling:
| Unexpected delays in receiving survey |  | Yes | No | N/A
| Kit contents correct and in acceptable condition |  | Yes | No | N/A
| Testing performed within suggested instructional time guidelines |  | Yes | No | N/A
| Specimens stored at correct temperature between receipt and analysis |  | Yes | No | N/A
| Specimen analyzed at correct temperature |  | Yes | No | N/A
| Sample mixed properly before testing |  | Yes | No | N/A
| Sample diluted properly |  | Yes | No | N/A
| Special Handling instructions were followed |  | Yes | No | N/A
Testing Procedure:
| Testing Personnel competent to perform analysis |  | Yes | No | N/A
| Manufacturer's package insert available and followed |  | Yes | No | N/A
| Testing procedure properly followed |  | Yes | No | N/A
| Kit components replaced from other kits |  | Yes | No | N/A
| Sample mix-up |  | Yes | No | N/A
| Sample demonstrate a matrix effect |  | Yes | No | N/A
| Instrument recently calibrated or due for calibration |  | Yes | No | N/A
| Instrument maintenance up-to-date |  | Yes | No | N/A
| New lot number of reagents or calibrators used |  | Yes | No | N/A
| Reagents within expiration date |  | Yes | No | N/A
| Results reported within linearity |  | Yes | No | N/A
| QC within established range |  | Yes | No | N/A
| QC demonstrates an even distribution around the mean |  | Yes | No | N/A
| QC results show a shift, trend, or bias |  | Yes | No | N/A
| Manufacturer consulted |  | Yes | No | N/A
Sample Results:
| A single sample fails on several analytes |  | Yes | No | N/A
| All samples failed for the analyte |  | Yes | No | N/A
| Previous survey results for the analyte demonstrate a problem emerging |  | Yes | No | N/A
| PT material reassayed |  | Yes | No | N/A
Investigation:
Conclusion:
Corrective Action Taken:
Name
Laboratory Director Review