## Sheet1
XC 17 |  | Clinic Laboratory
Maintenance Log
SN# AJ33055
Month/Year
|  | Daily | [6 empty] | Weekly |  |  | Comments
|  | Startup | Waste | Background | Reproducibility | QC (L, N, H) |  | Shutdown | Extended | Rinse | Wipe | As Needed/Non Scheduled
Date | Tech |  | O.K. | Count |  | Performed | Plotted | 1 hour | Clean | Flow Cell | Instrument | Maintenance
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Initial/check mark indicates value within instrument limits; maintenance procedure performed as required.